## all_pool
| 1. Modify the following values as needed: | [6 empty] | Final volume desired | 600 | ul
| 2. Input the concentration of the library preparation (in ng/uL) in column B. | [6 empty] | Final conc. desired of pool | 10 | nM
| 3. Input the average size of the library preparation in base pairs in Column C (do not include length of index adapters) | [6 empty] | Number of samples | 64
| 4. Hit the tab key 1 time and the following will be displayed automatically: | [6 empty] | Length of indexing primer | 113 | bp
Calculated molecular weight of the library based on average fragment size.
BF3 |  | nM conversion of library concentration. | [5 empty] | Actual concentration | 7.9202 | nM
418 |  | Amount of samples that must be added to pool. | [5 empty] | Avg lib size (bp) | 595 | bp
Leray |  | Total expected volume from pooled samples.
313 |  | Volume of water that must be added to pooled samples to reach the desired final volume.
LerayXT | 5. Pay attention to the cells highlighted in green- they provide the quantities of samples and water you need to reach your desired volume | [10 empty] | pipetting volumes -- try to keep higher! > 1uL
313 | Total Sample Volume: |  | 476.813 |  |  | 453.06 | <-- actual sample vol | [5 empty] | calculated | adjusted
| Add water volume: |  | 123.187 |  |  | 146.94 | [5 empty] | min | 0.77116 | 0.77
[12 empty] | max | 39.1878 | 24
PCR 2 Plate | Sample | Marker | Adjusted Library concentration after PCR2 / bead clean (ng/uL) | Average Base Pair Length | MW calculation | Library Concentration (nM) | Normal amount of sample to add to pool (uL) | "Fudge factor" | Calculated Amount to pool (uL) | Actual Amount to pool (uL) | Actual ng DNA added to pool | ng DNA from calculated amt | Notes
1 | 1-a | BF3 | 3.563 | 535 | 353213 | 10.0874 | 9.2938 | 1 | 9.2938 | 9.29 | 33.1003 | 33.1137
1 | 1-b | BF3 | 2.129 | 535 | 353213 | 6.0275 | 15.5536 | 1 | 15.5536 | 15.55 | 33.1059 | 33.1137
1 | 1-c | BF3 | 2.322 | 535 | 353213 | 6.5739 | 14.2609 | 1 | 14.2609 | 14.26 | 33.1117 | 33.1137
1 | 2-a | BF3 | 3.215 | 535 | 353213 | 9.1022 | 10.2998 | 1 | 10.2998 | 10.3 | 33.1145 | 33.1137
1 | 2-b | BF3 | 4.794 | 535 | 353213 | 13.5725 | 6.9073 | 1 | 6.9073 | 6.91 | 33.1265 | 33.1137
1 | 2-c | BF3 | 3.338 | 535 | 353213 | 9.4504 | 9.9202 | 1 | 9.9202 | 9.92 | 33.113 | 33.1137
1 | 3-a | BF3 | 3.805 | 535 | 353213 | 10.7725 | 8.7027 | 1 | 8.7027 | 8.7 | 33.1035 | 33.1137
1 | 3-b | BF3 | 2.219 | 535 | 353213 | 6.2823 | 14.9228 | 1 | 14.9228 | 14.92 | 33.1075 | 33.1137
1 | 3-c | BF3 | 2.462 | 535 | 353213 | 6.9703 | 13.4499 | 1 | 13.4499 | 13.45 | 33.1139 | 33.1137
1 | 4-a | BF3 | 2.758 | 535 | 353213 | 7.8083 | 12.0064 | 1 | 12.0064 | 12.01 | 33.1236 | 33.1137
1 | 4-b | BF3 | 1.61 | 535 | 353213 | 4.5582 | 20.5675 | 1 | 20.5675 | 20.57 | 33.1177 | 33.1137
1 | 4-c | BF3 | 1.541 | 535 | 353213 | 4.3628 | 21.4885 | 1 | 21.4885 | 21.49 | 33.1161 | 33.1137
1 | 5-a | BF3 | 0.845 | 535 | 353213 | 2.3923 | 39.1878 | 1 | 39.1878 | 24 | 20.28 | 33.1137
1 | 5-b | BF3 | 2.093 | 535 | 353213 | 5.9256 | 15.8212 | 1 | 15.8212 | 15.82 | 33.1113 | 33.1137
1 | 5-c | BF3 | 1.427 | 535 | 353213 | 4.0401 | 23.2051 | 1 | 23.2051 | 23.21 | 33.1207 | 33.1137
1 | 6-a | BF3 | 3.755 | 535 | 353213 | 10.631 | 8.8186 | 1 | 8.8186 | 8.82 | 33.1191 | 33.1137
1 | 6-b | BF3 | 1.017 | 535 | 353213 | 2.8793 | 32.5602 | 1 | 32.5602 | 24 | 24.408 | 33.1137
1 | 6-c | BF3 | 2.725 | 535 | 353213 | 7.7149 | 12.1518 | 1 | 12.1518 | 12.15 | 33.1088 | 33.1137
1 | 7-a | BF3 | 9.604 | 535 | 353213 | 27.1904 | 3.4479 | 1 | 3.4479 | 3.45 | 33.1338 | 33.1137
1 | 7-b | BF3 | 22.29 | 535 | 353213 | 63.1064 | 1.4856 | 1 | 1.4856 | 1.49 | 33.2121 | 33.1137
1 | 7-c | BF3 | 6.604 | 535 | 353213 | 18.6969 | 5.0142 | 1 | 5.0142 | 5.01 | 33.086 | 33.1137
1 | 8-a | BF3 | 5.029 | 535 | 353213 | 14.2379 | 6.5846 | 1 | 6.5846 | 6.58 | 33.0908 | 33.1137
1 | 8-b | BF3 | 4.574 | 535 | 353213 | 12.9497 | 7.2396 | 1 | 7.2396 | 7.24 | 33.1158 | 33.1137
1 | 8-c | BF3 | 16.09 | 535 | 353213 | 45.5532 | 2.058 | 1 | 2.058 | 2.06 | 33.1454 | 33.1137
2 | 10-a | BF3 | 5.54 | 535 | 353213 | 15.6846 | 5.9772 | 1 | 5.9772 | 5.98 | 33.1292 | 33.1137
2 | 10-b | BF3 | 5.814 | 535 | 353213 | 16.4603 | 5.6955 | 1 | 5.6955 | 5.7 | 33.1398 | 33.1137
2 | 10-c | BF3 | 8.006 | 535 | 353213 | 22.6662 | 4.1361 | 1 | 4.1361 | 4.14 | 33.1448 | 33.1137
2 | 12-a | BF3 | 5.265 | 535 | 353213 | 14.906 | 6.2894 | 1 | 6.2894 | 6.29 | 33.1168 | 33.1137
2 | 12-b | BF3 | 22.89 | 535 | 353213 | 64.8051 | 1.4466 | 1 | 1.4466 | 1.45 | 33.1905 | 33.1137
2 | 12-c | BF3 | 4.25 | 535 | 353213 | 12.0324 | 7.7915 | 1 | 7.7915 | 7.79 | 33.1075 | 33.1137
2 | 13-a | BF3 | 12.51 | 535 | 353213 | 35.4177 | 2.647 | 1 | 2.647 | 2.65 | 33.1515 | 33.1137
2 | 13-b | BF3 | 3.217 | 535 | 353213 | 9.1078 | 10.2934 | 1 | 10.2934 | 10.29 | 33.1029 | 33.1137
2 | 13-c | BF3 | 2.082 | 535 | 353213 | 5.8945 | 15.9048 | 1 | 15.9048 | 15.9 | 33.1038 | 33.1137
2 | 14-a | BF3 | 15.5 | 535 | 353213 | 43.8829 | 2.1364 | 1 | 2.1364 | 2.14 | 33.17 | 33.1137
2 | 14-b | BF3 | 5.266 | 535 | 353213 | 14.9089 | 6.2882 | 1 | 6.2882 | 6.29 | 33.1231 | 33.1137
2 | 14-c | BF3 | 35.26 | 535 | 353213 | 99.8265 | 0.93913 | 1 | 0.93913 | 0.94 | 33.1444 | 33.1137
2 | 15-a | BF3 | 9.872 | 535 | 353213 | 27.9491 | 3.3543 | 1 | 3.3543 | 3.35 | 33.0712 | 33.1137
2 | 15-b | BF3 | 22.73 | 535 | 353213 | 64.3521 | 1.4568 | 1 | 1.4568 | 1.46 | 33.1858 | 33.1137
2 | 15-c | BF3 | 26.08 | 535 | 353213 | 73.8365 | 1.2697 | 1 | 1.2697 | 1.27 | 33.1216 | 33.1137
2 | 16-a | BF3 | 11.71 | 535 | 353213 | 33.1528 | 2.8278 | 1 | 2.8278 | 2.83 | 33.1393 | 33.1137
2 | 16-b | BF3 | 4.558 | 535 | 353213 | 12.9044 | 7.265 | 1 | 7.265 | 7.26 | 33.0911 | 33.1137
2 | 16-c | BF3 | 20.09 | 535 | 353213 | 56.8779 | 1.6483 | 1 | 1.6483 | 1.65 | 33.1485 | 33.1137
2 | 17-a | BF3 | 9.915 | 535 | 353213 | 28.0709 | 3.3398 | 1 | 3.3398 | 3.34 | 33.1161 | 33.1137
2 | 17-b | BF3 | 26.92 | 535 | 353213 | 76.2146 | 1.2301 | 1 | 1.2301 | 1.23 | 33.1116 | 33.1137
2 | 17-c | BF3 | 12.29 | 535 | 353213 | 34.7949 | 2.6944 | 1 | 2.6944 | 2.69 | 33.0601 | 33.1137
2 | 18-a | BF3 | 18.49 | 535 | 353213 | 52.348 | 1.7909 | 1 | 1.7909 | 1.79 | 33.0971 | 33.1137
2 | 18-b | BF3 | 2.294 | 535 | 353213 | 6.4947 | 14.4349 | 1 | 14.4349 | 14.43 | 33.1024 | 33.1137
2 | 18-c | BF3 | 12.16 | 535 | 353213 | 34.4268 | 2.7232 | 1 | 2.7232 | 2.72 | 33.0752 | 33.1137
2 | 19-a | BF3 | 4.201 | 535 | 353213 | 11.8937 | 7.8823 | 1 | 7.8823 | 7.88 | 33.1039 | 33.1137
2 | 19-b | BF3 | 8.63 | 535 | 353213 | 24.4328 | 3.837 | 1 | 3.837 | 3.84 | 33.1392 | 33.1137
2 | 19-c | BF3 | 14.75 | 535 | 353213 | 41.7595 | 2.245 | 1 | 2.245 | 2.24 | 33.04 | 33.1137
3 | 20-a | BF3 | 10.84 | 535 | 353213 | 30.6897 | 3.0548 | 1 | 3.0548 | 3.05 | 33.062 | 33.1137
3 | 20-b | BF3 | 1.651 | 535 | 353213 | 4.6742 | 20.0568 | 1 | 20.0568 | 20.06 | 33.1191 | 33.1137
3 | 20-c | BF3 | 4.113 | 535 | 353213 | 11.6445 | 8.051 | 1 | 8.051 | 8.05 | 33.1097 | 33.1137
3 | 21-a | BF3 | 42.94 | 535 | 353213 | 121.5697 | 0.77116 | 1 | 0.77116 | 0.77 | 33.0638 | 33.1137
3 | 21-b | BF3 | 22.75 | 535 | 353213 | 64.4087 | 1.4555 | 1 | 1.4555 | 1.46 | 33.215 | 33.1137
3 | 21-c | BF3 | 35.56 | 535 | 353213 | 100.6758 | 0.93121 | 1 | 0.93121 | 0.93 | 33.0708 | 33.1137
3 | 22-a | BF3 | 82.46 | 535 | 353213 | 233.4569 | 0.40157 | 1 | 0.40157 | 0.4 | 32.984 | 33.1137
3 | 22-b | BF3 | 63.87 | 535 | 353213 | 180.8257 | 0.51845 | 1 | 0.51845 | 0.52 | 33.2124 | 33.1137
3 | 22-c | BF3 | 66.25 | 535 | 353213 | 187.5639 | 0.49983 | 1 | 0.49983 | 0.5 | 33.125 | 33.1137
3 | 23-a | BF3 | 15.17 | 535 | 353213 | 42.9486 | 2.1828 | 1 | 2.1828 | 2.18 | 33.0706 | 33.1137
3 | 23-b | BF3 | 16.41 | 535 | 353213 | 46.4592 | 2.0179 | 1 | 2.0179 | 2.02 | 33.1482 | 33.1137
3 | 23-c | BF3 | 12.71 | 535 | 353213 | 35.984 | 2.6053 | 1 | 2.6053 | 2.61 | 33.1731 | 33.1137
3 | Positive Control | BF3 | 97.1 | 535 | 353213 | 274.9049 | 0.34103 | 1 | 0.34103 | 0.34 | 33.014 | 33.1137
Note on J1: ====== ID#AAAAlrmeJbU tc={F9780AD8-F161-4A23-ADBA-AF361AEFA080} (2022-12-12 02:43:25) [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: really only need ~500 for COI Reply: don't make less than 500uL.
Note on J2: ====== ID#AAAAlrmeJbE tc={5DCAEB85-5300-4077-A24C-721C1042878F} (2022-12-12 02:43:25) [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: leave at 10
Note on E14: ====== ID#AAAAlrmeJbg tc={FF76234C-D348-44F3-AC42-82FD6C50A599} (2022-12-12 02:43:25) [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: PCR1 length: fragment length + ~117bp
Note on K14: ====== ID#AAAAlrmeJbA tc={B88DD89A-E82C-4644-9602-B3A5B9788150} (2022-12-12 02:43:25) [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: for every sample that needed the max amt added, I estimated the actual total vol available for that sample from the PCR2 clean sample tubes.

## pooling-print
PCR 2 Plate 1
Sample IDs
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Pool Volume
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H

## library_QC
Qubit
Date | uL sample | ug/mL | ng/uL | [13 empty] | Dilution |  | back-calculate….
2022-01-13 | 2 |  | 2.4 |  | 5.7904 | nM | x | 34.54 | uL | "=" | 4 | nM | x | 50 | uL | -------- | 34.54 | uL Library | 1.6579 | ng/uL | 4 | nM
[17 empty] | 15.46 | uL H2O
Quant-it
Date | uL sample | ug/mL | ng/uL | [15 empty] | back-calculate….
2022-01-13 | 2 |  | 2.4 |  | 5.7904 | nM | x | 34.54 | uL | "=" | 4 | nM | x | 50 | uL | -------- | 34.54 | uL Library | 1.6579 | ng/uL | 4 | nM
Bioanalyzer | [16 empty] | 15.46 | uL H2O
Date | uL sample | peak bp
2022-01-15 | 1 | 628
Diluted Library
Quant-it | uL sample | ug/mL | ng/uL |  | 3.8603 | nM
2022-01-16 | 2 |  | 1.6
[5 empty] | 20 | pM | x | 180 | uL | "=" | 6 | pM | x | 600 | uL
phiX | [18 empty] | back-calculate….
Date | uL sample | ug/mL | ng/uL |  | 15.1515 | nM | x | 1.32 | uL | "=" | 4 | nM | x | 5 | uL | -------- | 1.32 | uL phiX | 1.3385 | ng/uL | 4 | nM
Tapestation 12/13/2022 | 2 | 507 | 5.07 | [13 empty] | 3.68 | uL H2O
Date | uL sample | peak bp
| 1.6 | ng/uL | x 10^6 | `= | 3.8603 | nM
| 660g/mol x | 613bp